Blissfield Community Schools

Objective

Blissfield Community School’s (BCS) is accepting proposals to replace an existing security camera and building access control system. The District is interested in the most cost effective solution that meets all requirements outlined in the following specifications.

Section I.

General Requirements

1.0 Blissfield Community Schools reserves the right to accept or reject any or all bids in whole or in part, and to waive any irregularities in the bidding. They also reserve the right to award any contract as deemed in the best interest of the School District.

1.1 All goods and services quoted must be delivered F.O.B. destination with all transportation charges prepaid and included in the bid price.

1.2 BCS policy is to not discriminate on the basis of race, religion, color, creed, sex, national origin, age, political beliefs or disability in its educational programs, employment practices and bidding processes. The bidder, by signing this Invitation to Bid, commits that it has a similar policy and will comply with Blissfield Community Schools non-discrimination policy.

1.3 Bidders must provide a complete bill of materials for the project including unit pricing.

1.4 No taxes are to be included in any bid price. Blissfield Community Schools is exempt from Federal and State taxes.

1.5 The district is not responsible for any costs incurred in preparing a bid response.

1.6 All project costs must be included in bid pricing. Charges such as travel, meals, lodging, equipment rental and the like not included in the bid price will not be accepted.

1.7 The District reserves the unrestricted right to reduce the contract amount by reducing the scope of work and/or components in order to meet budget or project requirements. Unit pricing from the bill of materials will be used to make contract adjustments.

1.8 Proposal must be mailed or delivered to the address below and received no later than May 31, 2019 at 12:00 noon. The District will not accept late submissions.

Attn:

BCS Security Camera RFP

Blissfield Community Schools

630 S Lane

Blissfield MI 49228

1.9 All questions regarding this RFP must be directed to Michael Reinhardt via email at             mreinhardt@blissfieldschools.us. Question email messages must have a subject line of “BCS Security Camera RFP”. No phone inquiries will be accepted during the bid process.

| BCS | Security Video & Access Control |
| --- | --- |
| RFP |  |  |

Section II.

Project Requirements

BCS has an existing IP camera network, video management and building access control system. The District is seeking proposals to remove existing systems, and install new cameras, video management software, and access control. The project will be implemented over this summer. Detailed proposal pricing is essential to allow for project segmentation and scaling the scope of work to meet budget goals.

1.0 Bid Responses must include the following:

1.1. Two hard copies and one electronic proposal

1.2. A Proposal Overview

1.3. Vendor Information

1.3.1.Company’s Legal Name, and name of any parent company

1.3.2.Number of years performing security camera and access control work

1.3.3.Have there been any lawsuits or legal actions involving your company over the past 3 years.

1.3.4.List key personnel who will be assigned to the project with qualifications

1.4. An annotated copy of RFP with acknowledgments of requirements and notes

detailing any non-compliance with bid requirements

1.5. Product documentation for all hardware or software included in the proposal

1.6. Itemized Bill of materials

1.7. Out of scope labor rate schedule

1.8. Two verifiable references including contact names and phone numbers

1.9. Evidence of liability Insurance and coverage levels .5 percent bid bond notarized

1.10. A signed and notarized “familial relationship statement” disclosing any familial relationship(s) that may exist between the owner or employees of the bidder and any member of the Board of Education or its Superintendent.

1.11. Affidavit of Compliance-Iran Sanctions

1.12. Proposed contract language

2.0 Bidder Qualifications

2.1 Bidders must be a reputable firm regularly doing this type of work with skilled and fully trained technicians capable of performing the installation in accordance with standard industry practices.

2.2 Bidders must either be the manufacturer of the proposed equipment or a factory authorized distributor/contractor.

2.3 Bidders may not use subcontracted labor as the primary project engineer or as the primary onsite installation technician.

2.4 Bidders may be requested to provide documentation that they have the experience and financial ability to perform any contract awarded

2.5 Contractor and subcontractor staff may be required to pass criminal background checks

3.0 General Project Requirements

3.1 Contractors may store materials on site at their own risk. No materials will be accepted by the owner until physically installed.

3.2 Contractors are responsible for acquiring any permits required for their work.

3.3 All work must be in compliance with applicable laws, regulations, fire and building codes.

Page 2 of 14

| BCS | Security Video & Access Control |
| --- | --- |
| RFP |  |  |  |
| 3.4 | Work sites must be kept clean and free of debris. The contractor is responsible for |
|  |  | disposing of all removed equipment, packing materials, and general debris each day. |
| 3.5 | Project timelines and invoicing schedules will be mutually agreed to as part of the |
|  |  | final scope of work and material orders. |  |
| 3.6 | All materials must be new and the latest model available. No materials may be |
|  |  | refurbished, used, or have an announced end-of-life or end-of-sale date. |
| 3.7 | The contractor will be responsible for all building damage related to their work e.g. |
|  |  | ceiling tiles, floors, facade |  |
| 3.8 | Bidders are asked to provide fixed pricing |
| 4.0 Bid submissions will be reviewed based on the following criteria |  |
| 4.2 | Purchase price and total cost of ownership |  |
| 4.3 | Quality of technical solution |  |
| 4.4 | Systems features |  |
| 4.5 | Vendor and product references |  |

5.0 Blissfield Technical Environment

5.1 The contractor will be responsible for the installation of 3 servers to store the high definition surveillance footage. These servers must each have 24TB SSD hard drives and a minimum 3 year on site replacement warranty.

5.2 All buildings are connected to the district data center using 1Gbps full duplex single mode fiber.

5.3 Building wiring closets are interconnected with fiber at 1Gbps or 10Gbps at the high school.

5.4 The owner will provide powered switch ports for cameras with up to 30W per port.

5.5 District structured cabling is certified CAT6.

Page 3 of 14

| BCS | Security Video & Access Control |
| --- | --- |
| RFP |  |  |

Section III.

Video Management System

1.0 Acceptable Video Management OEMs are Axis, Exacq, or Meraki

2.0 Removal and Disposal

2.1 The owner will remove and dispose of existing network video management servers and storage.

3.0 Video Management System Requirements

3.1 General

3.1.1	Solutions that maximize the ability of the owner to independently operate and support the VMS system will be preferred.

3.1.2	Proposals must include a new storage unit sized and configured to meet video storage requirements for the complete project..

3.1.3	VMS software must be the latest version available at the time of owner acceptance of the project.

3.2 System Features

3.2.1	The VMS must present camera positions on building floor plans and by groups allowing access to live or recorded video for the selected camera.

3.2.2	The VMS must support event driven SMTP messaging. Event types must include loss of camera image, system warnings and failures

3.2.3	The VMS must use NTP for time

3.2.4	The VMS must provide full camera viewing functionality via web browsers (Edge, IE, Chrome, Firefox) on existing district Windows 7/10 computers over TLS communications.

3.2.5	If browser plugins are required to view system video streams or manage the system, these must be listed

3.2.6	VMS management may use a Windows based client, although web based is preferred.

3.2.7	Systems must include iOS/Android mobile clients or use an adaptive web design to allow authenticated remote access to the VMS system.

3.2.8	Event driven video capture with pre and post event recording must be supported

3.2.9	The system must simultaneously support (1) viewer per building and (3) global access viewers without degradation of video capture, management, or viewing service.

3.2.10 The proposed solution must store a minimum of 30 days of video for all new cameras.

3.2.11 The system must support continuous, scheduled, and event/motion based recording. Cameras must be configured to capture relevant video using recording methods appropriate for each camera location.

Page 4 of 14

| BCS | Security Video & Access Control |
| --- | --- |
| RFP |  |  |

3.2.12 Specific video capture settings will be determined in consultation with the contractor but will not be less than 10fps with a 3 second pre and post event recording with motion masking and privacy screening as needed.

3.2.13 Event based, time coordinated multi-camera playback of stored video must be supported

3.2.14  Display of pre-defined camera groups must be supported.

3.2.15 All camera audio capture must be disabled on cameras and in VMS software.

3.2.16  Video must be exportable in industry standard formats

3.2.17 Video must be exportable with timestamps and watermarks acceptable as evidence in legal proceedings either in standard formats or bundled with a distributable reader.

3.2.18  Systems must support LDAP for user authentication

3.2.19  Systems must allow printing still images from stored or live video

3.3 Services

3.3.1	The proposed system must be a fully functional turnkey implementation including all materials and services required to install and perfect video management services and camera installations.

3.3.2	Vendors must rack and configure the proposed video storage.

3.4 Warranty and Support

3.4.1	VMS software and installation work must be warranted free from

defects in material and workmanship for 12 months from owner acceptance of project completion.

12 months OEM software telephone support is required Software patches and upgrades must be provided for 5 years

3.5 Training

3.5.1

(3) onsite training classes must be provided for building level camera system viewers covering basic system access and operation

3.5.2

(1) onsite training class must be provided for security and IT staff covering system administration and advanced system operation Describe any available online print and video training materials for system administrators and build level users

3.6 Documentation and Labeling

3.6.1	As-built documentation must include camera names, ID numbers, building, location description, MAC, DHCP assigned IP reservation, Camera make, model, and serial. If this information exists in the VMS management console, separate printed documentation is not necessary.

Page 5 of 14

| BCS | Security Video & Access Control |
| --- | --- |
| RFP |  |  |
| Section IV. |  |
| Camera Requirements |  |

1.0 Acceptable Camera OEMs are Axis, Exacq, and Meraki

2.0 Removal and Disposal

2.1 All existing cameras and mounts must be fully removed.

2.2 No old cabling may be left exposed.

3.0 Camera Requirements

Quotes for additional or alternative camera models are encouraged. These must be listed as alternate options outside of base bid pricing. Camera models not listed within bid pricing as primary or alternate options will not be considered.

3.1 Outdoor Cameras

| 3.1.1 | Cameras placements must comply with all legal requirements and be |
| --- | --- |
|  | configured with privacy screening where necessary |
| 3.1.2 | All default passwords must be changed at installation |
| 3.1.3 | Must use a vandal resistant bullet or clear dome design |
| 3.1.4 | Must be designed to prevent fogging, humidity, and condensation |
|  | related issues |
| 3.1.5 | Cameras with optical zoom capabilities must be capable of and |
|  | configured to return to a preset framing automatically |
| 3.1.6 | Must be rated for ambient operating temperatures of at least -40C to |
|  | 65C |
| 3.1.7 | Must provide high quality wide dynamic range capabilities |
| 3.1.8 | Appropriate mounting brackets must be included |
| 3.1.9 | Min Resolution 5MP |
| 3.1.10 | Must be capable of a sustained 30 frames per second at full resolution |
| 3.1.11 | Auto-Iris |
| 3.1.12 | Varifocal |
| 3.1.13 | Auto-focus |
| 3.1.14 | IR-cut filter for day/night use |
| 3.1.15 | Min 30 meter IR illumination |
| 3.1.16 | Cameras must be at their most current firmware levels when accepted |
|  | by the owner. |
| 3.2 Indoor cameras |
| 3.2.1 | Must use a vandal resistant clear dome design |
| 3.2.2 | All default passwords must be changed at installation |
| 3.2.3 | Internal cameras must produce clear images not blurred by the |
|  | conditions and rates of movement typically found inside school |
|  | buildings |

Page 6 of 14

| BCS | Security Video & Access Control |
| --- | --- |
| RFP |  |  |
| 3.2.4 | Cameras must support a depth of field, light management, and other |
|  |  | characteristics related to image clarity important to achieve the owners |
|  |  | goal of maximizing the ability to recognize faces in live and stored video. |
| 3.2.5 | Must provide high quality wide dynamic range capabilities |
| 3.2.6 | Min resolution 3MP |
| 3.2.7 | Must be capable of a sustained 30 frames per second at full resolution |
| 3.2.8 | Varifocal |
| 3.2.9 | Autofocus |
| 3.2.10 | Auto-Iris |
| 3.2.11 | IR-Cut filter for day/night use |
| 3.2.12 | Min 15 meter IR illumination |
| 3.2.13 | Cameras must be at their most current firmware levels when accepted |
|  |  | by the owner. |

4.0 Services

| 4.1 | The contractor must mount, aim, and focus the cameras in cooperation with the |
| --- | --- |
|  | Operations Director for BCS |
| 4.2 | Camera installation must be performed outside of student instructional hours. |
| 4.3 | Existing Ethernet cabling should be reused when present. If Ethernet cabling is not |
|  | present, The contractor is required to install a new CAT6 drop terminated on an |
|  | owner provided patch panel using a contractor supplied device side RJ45 biscuit and |
|  | patch cable. |
| 4.4 | Cabling must be in conduit or raceway suitable for the installation location. Cabling |
|  | may not be exposed. |
| 4.5 | Since an exact drop count will not be known until the final scope of work is |
|  | determined and camera placements are finalized, a fix rate per drop is requested as |
|  | an optional bill of materials item. |
| 4.6 | Other materials that may be required such as raceway or mounting brackets must |
|  | be listed as optional bill of materials components. |
| 4.7 | Cameras must be fully configured in the VMS by the contractor. Specific video |
|  | capture settings will be selected with owner approval. |
| 4.8 | Contractor needs to be aware and work around asbestos in buildings (see Operation Director for asbestos information. |
| 5.0 Warranty and Support |
| 5.1 | Cameras must carry a 3 year warranty from the date of final project acceptance |
|  | 5.2 Cameras that fail within the first three years must be serviced and replaced as needed by |

the contractor at no additional expense to the owner.

6.0 Documentation

6.1 Camera names, IP addresses, buildings, location description, and MAC address must be documented. If this information is readily accessible from the video management console, that is sufficient.

Page 7 of 14

| BCS | Security Video & Access Control |
| --- | --- |
| RFP |  |  |  |
| BCS | Security Video & Access Control |
| RFP |  |  |

Section V.

Quote

Required Attachments

- ]Vendor information

- ]Proposal Overview

- ]Annotated copy of full RFQ with acknowledgments of requirements and notes for any deviation from or qualifications of bid specifications

- ]Product documentation

- ]Itemized Bill of materials

- ]Out of scope labor rate schedule

- ]Customer References

- ]Liability Coverage/ 5 percent notarized bid bond

- ]Familial Disclosure Statement

- ]Affidavit of Compliance-Iran Sanctions

- ]Proposed contract language

| Total Project Bid | $_____________________ |  |  |
| --- | --- | --- | --- |
| Company | __________________________________________ |
| Name | __________________________________________ |
| Authorized Signature | __________________________________________ |
| Telephone | _______________ |  |  |  |
| Date | _________________________________ |  |
| Building |  | Building | Access |  |  |
|  |  | Camera | Control, |  | Cameras |
|  |  | Removal | Removal |  | and |
|  |  |  | and |  | Installation |
|  |  |  | Installation |  |  |
|  |  | $ | $ |  | $ |
|  |  | $ | $ |  | $ |
|  |  | $ | $ |  | $ |
|  | $ | $ |  | $ |
|  |  | $ | $ |  | $ |
|  |  | $ | $ |  | $ |
|  |  | $ | $ |  | $ |
|  |  | $ | $ |  | $ |
|  |  | $ | $ |  | $ |
|  |  | $ | $ |  | $ |
|  |  | $ | $ |  | $ |
|  |  | $ | $ |  | $ |
|  |  | $ | $ |  | $ |
|  |  | $ | $ |  | $ |
|  |  | $ | $ |  | $ |
|  |  | $ | $ |  | $ |
|  | $ | $ |  | $ |
|  |  | $ | $ |  | $ |
|  |  | $ | $ |  | $ |

Page 10 of 14

| BCS | Security Video & Access Control |
| --- | --- |
| RFP |  |  |

Sworn and Notarized Familial Disclosure Statement

The undersigned, the owner or authorized officer of _____________________________ (the “Bidder”), hereby represents and warrants except as provided below, that no familial relationships exist between the owner or any employee of the bidder and any member of the Board of Education or the Superintendent of the School District of the BCS

The following are the familial relationship(s):

Owner/Employee Name:	Related to:	Relationship:

___________________________	______________________	____________

____________________________	______________________	____________

____________________________	______________________	____________

There are no familial relationships that exist between the owner or employee(s)

of the Bidder.

BIDDER:

________________________________

By: _____________________________

Printed Name & Title:

________________________________

STATE OF MICHIGAN	)

)ss.

COUNTY OF _______________)

Subscribed and sworn before me, this _________

day of __________________, 20____, in and for

________________________ County, Michigan

by ____________________________________________________

(Signature)	NOTARY PUBLIC

My Commission Expires __________________________________

Page 11 of 14

|  | Security Video & Access Control |
| --- | --- |
| RFP |  |  |

|  | Security Video & Access Control |
| --- | --- |
| RFP |  |  |

Iran Business Relationship Affidavit

Effective April 1, 2013 all bids, proposals and/or qualification statements received in the State of Michigan must comply with the “Iran Economic Sanctions Act”. The Following certification is to be signed and included at time of submittal:

Pursuant to the Michigan Iran Economic Sanctions Act, 2012 P.A. 517, by submitting a bid, proposal or response, respondent certifies, under civil penalty for false certification, that it is fully eligible to do so under law and that it is not an “Iran linked business,” as that term is defined in the Act.

_________________________________	_________________________________

Signature	Title

_________________________________	_________________________________

Company	Date

Page 13 of 14

|  | Security Video & Access Control |
| --- | --- |
| RFP |  |  |

Appendix A

| Blissfield HS Bill of Materials | Part number | Quantity |
| --- | --- | --- |
| AXIS T91D61 Wall Mount 1.5” NPS | 5504-821 | 8 |
| AXIS T91A64 Corner Bracket | 5017-641 | 8 |
| AXIS M3057-PLVE | 01177-001 | 4 |
| AXIS M3058-PLVE | 01178-001 | 5 |
| AXIS P3227-LVE | 0886-001 | 8 |
| AXIS P3807-PVE | 01048-001 | 3 |
| AXIS M4206-LV | 01241-001 | 7 |
| AXIS P3717-PLE | 01504-001 | 8 |
| AXIS T94N01D Pendant Kit | 01513-001 | 8 |
| AXIS S1148 24 TB | 01614-001 | 1 |

| Blissfield MS Bill of Materials | Part number | Quantity |
| --- | --- | --- |
| AXIS T91D61 Wall Mount 1.5” NPS | 5504-821 | 6 |
| AXIS T91A64 Corner Bracket | 5017-641 | 6 |
| AXIS M3057-PLVE | 01177-001 | 12 |
| AXIS M3058-PLVE | 01178-001 | 1 |
| AXIS P3227-LVE | 0886-001 | 2 |
| AXIS P3807-PVE | 01048-001 | 1 |
| AXIS M4206-V | 01240-001 | 7 |
| AXIS P3717-PLE | 01504-001 | 6 |
| AXIS T94N01D Pendant Kit | 01513-001 | 6 |
| AXIS S1148 24 TB | 01614-001 | 1 |

| Blissfield ES Bill of Materials | Part number | Quantity |
| --- | --- | --- |
| AXIS T91D61 Wall Mount 1.5” NPS | 5504-821 | 8 |
| AXIS T91A64 Corner Bracket | 5017-641 | 8 |
| AXIS M3057-PLVE | 01177-001 | 9 |
| AXIS M3058-PLVE | 01178-001 | 1 |
| AXIS P3227-LVE | 0886-001 | 2 |
| AXIS P3807-PVE | 01048-001 | 2 |
| AXIS M4206-V | 01240-001 | 7 |
| AXIS P3717-PLE | 01504-001 | 8 |
| AXIS T94N01D Pendant Kit | 01513-001 | 8 |
| AXIS S1148 24 TB | 01614-001 | 1 |

Page 14 of 14